{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["설계서 표지","집계표","예산서"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":2,"defined_names":24,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"설계서 표지","index":0,"n_rows":17,"n_cols":10,"rows_kept":17,"cut":false,"hidden":false,"merged":[[0,3,1,5],[0,0,1,2],[5,5,5,6],[6,5,6,6],[3,0,3,9],[4,2,4,5],[11,5,11,6],[8,5,8,6],[7,5,7,6],[9,5,9,6],[10,4,10,5]],"flags":["formulas_cached_only"]}
[" 설계    2007년      6 월       일",null,null,"2007년  6월",null,null,"설    계    자","심    사    자","팀          장","처          장"]
[]
[null,"2007년도"]
["문산 첨단산업단지(당동지구) 부지조성 전기공사 지급자재설계서"]
[]
[null,null,"◎ 공 사 개 요",null,"1. 가로등 공사 :","가로등주(H : 8m 1등)   -------",null,"97 개소"]
[{"$nulls":5},"가로등주(H : 10m 1등)   ------",null,"28 개소"]
[{"$nulls":5},"가로등주(H : 10m 1등보조) ---",null,"190 개소"]
[]
[]
[{"$nulls":4},"2. 공원등 및 보안등 공사 :"]
[{"$nulls":5},"공원등주 (A TYPE)      ------",null,"88 개소"]
[{"$nulls":5},"공원등주 (B TYPE)      ------",null,"6 개소"]
[{"$nulls":5},"보안등주 (C TYPE)      ------",null,"44 개소"]
[]
[]
[null,null,"◎ 공 사 비 :"]

{"sheet":"집계표","index":1,"n_rows":11,"n_cols":14,"rows_kept":11,"cut":false,"hidden":false,"merged":[[1,13,2,13],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4]],"flags":["formulas_cached_only"]}
[null,"[집계표]"]
[null,"품  명","규  격","수량","단위","총     액",null,"노  무  비",null,"재  료  비",null,"경     비",null,"비  고"]
["번호만 쳐!",{"$nulls":4},"단가","금  액","단가","금  액","단가","금  액","단가","금  액"]
["A-2","A-2 지급자재비(가로등 및 공원등)",null,1,"식",null,0]
[1.1," 1. 가로등 및 공원등 보안등 지급자재",null,1,"식"]
[null,"  부가가치세",0.1]
[null,"  합 계",{"$nulls":11},"천단위 절사"]
[]
["B"]
[]
["C"]

{"sheet":"예산서","index":2,"n_rows":138,"n_cols":14,"rows_kept":138,"cut":false,"hidden":false,"merged":[[1,13,2,13],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4]],"flags":["formulas_cached_only"]}
[null,"[예산서]"]
[null,"품  명","규  격","수량","단위","총     액",null,"노  무  비",null,"재  료  비",null,"경     비",null,"비  고"]
["호표 링크시켜!",{"$nulls":4},"단가","금  액","단가","금  액","단가","금  액","단가","금  액"]
["A-2","A-2 지급자재비(가로등 및 공원등)"]
[1.1," 1. 가로등 및 공원등 보안등 지급자재",{"$nulls":4},{"$error":"#REF!"},null,0,null,{"$error":"#REF!"},null,0]
["가로등STS H=8m,1.5m, 1등용","가로등","STS H=8m,1.5m, 1등용",97,"본",null,{"$error":"#REF!"},null,0,{"$error":"#REF!"},{"$error":"#REF!"},null,0]
["가로등STS H=10m,2m, 1등용","가로등","STS H=10m,2m, 1등용",28,"본",null,{"$error":"#REF!"},null,0,{"$error":"#REF!"},{"$error":"#REF!"},null,0]
["가로등STS H=10m,2m, 2등용, 보행등","가로등","STS H=10m,2m, 2등용, 보행등",190,"본",null,{"$error":"#REF!"},null,0,{"$error":"#REF!"},{"$error":"#REF!"},null,0]
[null,"공원등(A-TYPE)","등기구포함(5m, 1등용)",88,"본",null,{"$error":"#REF!"},null,null,{"$error":"#REF!"},{"$error":"#REF!"}]
[null,"공원등(B-TYPE)","등기구포함(5m, 2등용)",6,"본"]
["보안등(C-TYPE)등기구포함(5m, 1등용)","보안등(C-TYPE)","등기구포함(5m, 1등용)",44,"EA",{"$nulls":7},0]
["메탈등 램프175W","메탈등 램프","175W",334,"EA",{"$nulls":7},0]
["메탈등 안정기175W","메탈등 안정기","175W",334,"EA",{"$nulls":7},0]
["고압나트륨등 램프250W","고압나트륨등 램프","250W",306,"EA",{"$nulls":7},0]
["고압나트륨등 램프150W","고압나트륨등 램프","150W",9,"EA",{"$nulls":7},0]
["고압나트륨등 안정기250W","고압나트륨등 안정기","250W",306,"EA",{"$nulls":7},0]
["고압나트륨등 안정기150W","고압나트륨등 안정기","150W",9,"EA",{"$nulls":7},0]
{"$rows_empty":9}
[1.3,{"$nulls":11},0]
[{"$nulls":12},0]
["",{"$nulls":11},0]
{"$rows_empty":18}
[1.4,{"$nulls":11},0]
[{"$nulls":12},0]
["",{"$nulls":11},0]
[""]
{"$rows_empty":17}
["B"]
[]
["저압"]
[]
[]
[]
[]
[]
["저압"]
[]
[]
[]
[]
[]
["저압"]
[]
[]
[]
[]
[]
[]
["저압"]
[]
[]
[]
[]
[]
["저압"]
[]
[]
[]
[]
[]
["저압"]
[]
[]
[]
[]
[]
["저압"]
[]
[]
[]
[]
[]
[]
["저압"]
{"$rows_empty":22}
["C"]